## Slide 1
TO STUDY BREWSTER’S LAW USING LASER LIGHT
AIM
To determine the of Brewster’s angle for glass using a polarized light source.
APPARATUS USED
Laser, Polarizer, Glass plate, Plate holder, Rotational mount, Detector, Current output unit.

## Slide 2
THEORY & FORMULA USED
Brewster’s angle for a given medium is
Where µ is refractive index of the medium and θp Polarization angle.
When light travels from one media to another having different refractive indices, some of the light is reflected back from the surface of the denser medium. This reflected ray’s intensity changes with change in the angle of incidence at the interface of two media. At one specific angle of incidence of light only perpendicular vibrations of electric field vectors are reflected whereas parallel vibrations are blocked. The angle of incidence for which reflected ray is polarized is called the Polarization angle (θP) or Brewster's angle.

## Slide 3
PROCEDURE
Open the given link in a window
http://lo-au.vlabs.ac.in/laser-optics/Brewsters_Angle_Determination/experiment.html
2. Select the medium (air), material (Crown Glass) and click the switch ON light.
3. Rotate the glass plate at an interval of 5 degree, note down the rotation angle (θ) and corresponding current value (I) .
Plot a graph of reflected power (current I) vs angle θ.
From the graph find Brewster’s angle as well as refractive index of the material.

## Slide 4
BREWSTER’S LAW SETUP (VIRTUAL)
Select
Select
Link : http://lo-au.vlabs.ac.in/laser-optics/Brewsters_Angle_Determination/experiment.html

## Slide 5
BREWSTER’S LAW SETUP (VIRTUAL)
Rotate the angle, till current value becomes minimum
Current becomes minimum

## Slide 6
BREWSTER’S LAW VERIFICATION
Rotation Angle θ (in degree) |  |  |  |  |  |  |  |  | 
Current (I) |  |  |  |  |  |  |  |  | 
OBSERVATION TABLE
RESULT
Brewster’s angle for the material is ……………
The refractive index of material of glass is …………
Theoretical Calculation
Plot a graph of reflected power (current I) vs angle θ.

## Slide 7
AIM
To determine the relationship between the intensity of the transmitted light through analyzer and the angle between the axes of polarizer and analyzer.
APPARATUS USED
Laser, Polarizer, Analyzer, Photo Detector, Detector output measuring unit, optical bench.
TO STUDY MALUS’ LAW USING LASER LIGHT

## Slide 8
THEORY & FORMULA USED
When light falls on a polarizer, the transmitted light gets polarized. The polarized light falling on another Polaroid, called analyzer, transmits light depending on the orientation of its axis with the polarizer. The intensity of light transmitted through the analyzer is given by Malus’ law. This law describes how the intensity of light transmitted by the analyzer varies with the angle that its plane of transmission makes with that of the polarizer. The law can be mathematically written as:
It= Io Cos2 θ
where It is the intensity of the light transmitted through the analyzer; and Io is the intensity of the incident plane polarized light.
Laser
Polarizer Analyzer Detector
To Meter
It= Io Cos2 θ
Io

## Slide 9
PROCEDURE
Open the given link in a window
http://lo-au.vlabs.ac.in/laser-optics/Malus_law/experiment.html
2. Click on the Power ON knob.
3. Rotate the Polarizer angle at an interval of 10 degree, note down the rotation angle (θ) and the corresponding current value (Iexpt).
4. Plot a graph between Iexpt vs θ.

## Slide 10
MALUS’ LAW SETUP (VIRTUAL)
(1) Click
(2) Rotate the Angle
(3) Note down the Current value
Link :http://lo-au.vlabs.ac.in/laser-optics/Malus_law/experiment.html

## Slide 11
Plot the graph from your own data
MALUS’ LAW SETUP (VIRTUAL)

## Slide 12
OBSERVATIONS
Sl. No. | Angle of Analyzer θ (Here it is Polarizer) Degrees | Cos θ | Cos2 θ | Current Iexpt | Current Itheo = Imax * Cos2 θ
1. |  |  |  |  | 
2. |  |  |  |  | 
3. |  |  |  |  | 
4. |  |  |  |  | 
Maximum Current Imax = ….. mA

## Slide 13
Discussion
RESULT
The experimentally measured current (Iexpt) and (Itheo) that calculated using equation Itheo = Imax Cos2θ agree within the limits of the experimental error.
Plot a graph between Iexpt vs θ.
References
http://lo-au.vlabs.ac.in/laser-optics/Brewsters_Angle_Determination/experiment.html
http://lo-au.vlabs.ac.in/laser-optics/Malus_law/experiment.html
https://www.iitr.ac.in/departments/PH/uploads/Teaching%20Laboratory/12%20Brewsters%20angle.pdf
https://www.iitr.ac.in/departments/PH/uploads/Teaching%20Laboratory/9%20Malus%20law.pdf